## Slide 1
XENIUM / HANDS-ON
From decoded transcripts
to tissue niches
A reproducible QC-to-application portfolio built around transcript assignment, segmentation, and spatial context.
01
real 10x test bundle
06
auditable figures
2026 · release v0.1.0
Notes: [Sources]
10x Genomics Xenium example data: https://www.10xgenomics.com/support/software/xenium-onboard-analysis/latest/resources/xenium-example-data

## Slide 2
XENIUM QC ATLAS
Xenium quality is a chain, not a count cutoff
01
Decode
QV + controls
02
Assign
cell_id + locality
03
Segment
cell / nucleus geometry
04
Profile
panel-aware identity
05
Interpret
spatial null models
A failure upstream can masquerade as biology downstream.
The workflow keeps each evidence layer visible and versioned so a reviewer can audit how a cell entered a neighborhood claim.
02
Notes: [Sources]
Goods et al., Nature Methods (2025): https://doi.org/10.1038/s41592-025-02617-2
Janesick et al., Nature Communications (2023): https://doi.org/10.1038/s41467-023-43458-x

## Slide 3
XENIUM QC ATLAS
The complete code path ran on an official Xenium Prime bundle
36
cells
20
pass configured smoke-test QC
58.8%
all-transcript assignment rate
6
figures + machine-readable tables
TECHNICAL FIXTURE — NO BIOLOGICAL INFERENCE
03
Notes: [Sources]
10x Genomics XOA v3.0 trimmed test dataset, CC BY 4.0: https://www.10xgenomics.com/support/software/xenium-onboard-analysis/latest/resources/xenium-example-data
Metrics and plots generated locally by this repository. The dataset is artificially trimmed and not suitable for biological conclusions.

## Slide 4
XENIUM QC ATLAS
QC separates assay failure from segmentation failure
LAYER
MEASURE
FAILURE MODE
DECISION
Specificity
QV tails · negative probes · codewords
background or decoding artifact
spatial hotspot review
Assignment
assigned fraction · unassigned density
boundary / cytoplasm mismatch
compare by morphology
Geometry
nucleus:cell area · density · nuclei/cell
over/under-segmentation
flag extremes, inspect image
Identity
marker score · annotation margin
panel dropout or mixed lineage
retain unresolved cells
Spatial
local yield · Moran’s I · adjacency z
technical stripe or real niche
replicate + pathology support
Thresholds are hypotheses. Test them by sample and cell class.
04
Notes: [Sources]
Moses et al., Nature Methods (2024): https://doi.org/10.1038/s41592-024-02325-3
Goods et al., Nature Methods (2025): https://doi.org/10.1038/s41592-025-02617-2

## Slide 5
XENIUM QC ATLAS
The application asks what changes at the invasive boundary
DCIS
tumor epithelium
myoepithelial integrity
invasive
front
immune / stromal neighbors
Primary analyses
1
distance-to-boundary gradients
2
tumor–myeloid / fibroblast adjacency
3
B–T neighborhood enrichment
4
region-aware pseudobulk testing
5
segmentation sensitivity analysis
05
Notes: [Sources]
Janesick et al., Nature Communications (2023): https://doi.org/10.1038/s41467-023-43458-x
Sakai et al., British Journal of Cancer (2025): https://doi.org/10.1038/s41416-025-03088-0

## Slide 6
XENIUM QC ATLAS
Spatial claims are tested against explicit null models
kNN
↓
shuffle
labels
↓
z-score
The fixture confirms implementation; the full cohort supplies interpretable power.
06
Notes: [Sources]
Figures generated locally by this repository from the 10x trimmed test fixture. No biological inference is made.
Permutation logic and Moran's I implementation are documented in src/xenium_showcase/analysis.py.

## Slide 7
XENIUM QC ATLAS
The release makes every handoff reproducible
RUNNABLE
REVIEWABLE
✓
MD5-verified public download
✓
XOA-format-aware loader
✓
deterministic configuration
✓
CSV / JSON evidence trail
✓
editable PPTX summary
✓
threshold sensitivity hooks
✓
full-data breast profile
✓
clear demo-vs-biology guardrail
Scale-up path: patient-level pseudobulk · pathology registration · container digest · workflow engine
07
Notes: [Sources]
Repository release assets generated locally: README.md, RELEASE_NOTES.md, environment.yml, configs/, scripts/, src/, results/.

## Slide 8
THE TAKEAWAY
I can trace a spatial claim
back to the transcript.
This release demonstrates more than clustering: it connects platform-aware QC, segmentation diagnostics, spatial statistics, and a biologically motivated boundary question in one reproducible package.
READY
to run locally
demo data
figures
PPTX
release notes
github.com / release v0.1.0
Notes: [Sources]
Summary of locally generated repository artifacts and executed results.